## MER for Domestic Reuse
Texas Commission on Environmental Quality
P.O. Box 13087 • Austin, TX 78711-3087
MONTHLY EFFLUENT REPORT
PERMIT NUMBER |  |  |  | SET |  | YEAR | MO |  | EID
This report to be used for
Please retain a photocopy for your records.
Parameter Code/ |  | Effluent Condition |  |  | No. | Frequency of |  | Sample Type
Parameter |  |  | Value | Units | Ex | Analysis
3101024 |  | Permitted |  | mg/L |  | 2/week |  | Grab
BOD5 |  | Reported
800821024 |  | Permitted |  | mg/L |  | 2/week |  | Grab
CBOD5 |  | Reported
820796624 |  | Permitted |  | NTU |  | 2/week |  | Grab
Turbidity |  | Reported
31643730 |  | Permitted |  | MPN/100 mL |  | 2/week |  | Grab
E. coli |  | Reported
316403724 |  | Permitted |  | MPN/100 mL |  | 2/week |  | Grab
E. coli |  | Reported
316393724 |  | Permitted |  | MPN/100 mL |  | 2/week |  | Grab
Enterococci |  | Reported
316393730 |  | Permitted |  | MPN/100 mL |  | 2/week |  | Grab
Enterococci |  | Reported
4006030 |  | Permitted |  | Std units |  | 2/week |  | Grab
pH |  | Reported
500507124 |  | Permitted |  | MGD |  | 2/week |  | Grab
Flow |  | Reported
Permitted
Reported
COMMENTS AND EXPLANATIONS (Reference all attachments here.)
I CERTIFY THAT I AM FAMILIAR WITH THE INFORMATION CONTAINED IN THIS REPORT AND THAT TO THE BEST OF MY KNOWLEDGE AND BELIEF SUCH INFORMATION IS TRUE, COMPLETE AND ACCURATE.
PLANT OPERATOR NAME |  |  | PLANT OPERATOR SIGNATURE |  |  |  | MONTH | DAY | YEAR
EXECUTIVE OFFICER NAME |  |  | EXECUTIVE OFFICER SIGNATURE |  |  |  | MONTH | DAY | YEAR
Telephone Number
[7 empty] | Area code | Number
Texas Commission on Environmental Quality
Monthly Effluent Report Form
Completion Instructions
This Domestic Reuse Monthly Effluent Report is a self-reporting form that shows all the possible parameters that could be reported. Report those required by your permit. Extreme care should be taken to ensure that this report is used for only the plant or outfall described and for the year and month you specify on this the form. Measurements or test results must be reported in the following manner:
1. "Effluent Condition" column - Enter permitted limit in the shaded space and test results in the unshaded space under VALUE for each parameter using the units specified for that parameter in your permit. If the UNITS specifies MGD (million gallons per day), then a measured flow of 100,000 gallons per day should be reported as 0.100 MGD.
2. "NO EX" column - In the unshaded spaces, enter the exact number of times during the month that the given permitted limit was exceeded. If an effluent value reported as daily average is found to exceed the permitted daily average, enter a "1" in the box regardless of the number of single readings above the permitted limit
3. "Frequency of Analysis" and "Sample Type" columns - These columns reflect your permit requirements for the sampling of each parameter. This form includes many possible permit requirements. Use the frequency of analysis and sample type for each parameter as specified in your permit.
4. If no discharge is made during the reporting month enter a "0" under VALUE and enter the PARAMETER as "Discharge Days/Month." Leave the remainder of the form blank, except for reporting requirements under number 5 below.
5. Each form must contain two original signatures, the dates the forms were signed and the telephone number of the executive officer. Send the completed form to the Water Compliance Monitoring Team (MC 224), Enforcement Division, Texas Commission on Environmental Quality, PO Box 13087, Austin, Texas 78711-3087.
PLEASE RETAIN A PHOTOCOPY OF THE REPORT FOR YOUR RECORDS.
The following are definitions of terms and abbreviations used on the report:
| DLY. AVG. |  | Daily Average will be the arithmetic average of all test or measurement results obtained during the reporting period
| DLY. MAX. |  | Daily Maximum will be the largest of all the test or measurement results obtained during the reporting period.
| IND. GRAB |  | Individual Grab will be the largest test or measurement result obtained during the reporting period from a grab sample.
| DLY. MIN. |  | Daily Minimum will be the smallest test or measurement result obtained during the reporting period.
| GRAB |  | A sample collected in less than 15 minutes.
| GRAB PKLOAD |  | Grab sample collected at peak loading.
| 3 PRT COMP |  | 3-part composite
| 6 PRT COMP |  | 6-part composite
| 12 PRT COMP |  | 12-part composite
| Parameter |  | A physical property whose values determine the characteristics or behavior of something (i.e. temperature, BOD, pH)
If you have questions on how to fill out this form or about the self-reporting program, please contact us at 512/239-2545. Individuals are entitled to request and review their personal information that the agency gathers on its forms. They may also have any errors in their information corrected. To review such information, contact us at 512/239-3282.
End of Form and Instructions

## Parameter codes for Dom Reuse
Parameter Name | Parameter Code | Sample Type/Units
pH | 4006030 | Ind Grab
Turbidity | 820796624 | Daily Average
BOD5 | 3101024 | Daily Average
CBOD5 | 800821024 | Daily Average
E. coli | 316403730 | Ind Grab
E. coli | 316403724 | Daily Average
Enterococci | 316393724 | Daily Average
Enterococci | 316393730 | Ind Grab
End of Paramater Codes Worksheet